Yu.V. Tsapko

On inerting of vapor-air mixtures of highly inflammable liquids

Schemes of testing equipment are given for investigation of processes of inerting of mixtures of inflammable gases and vapors of inflammable liquids with oxidizing agents and also results of definition of minimum inerting concentrations of nitrogen for mixtures of vapors of a number of organic solvents with air.

УДК 614.842

Ю.В. Цапко

Щодо флегматизації пароповітряних сумішей легкозаймистих горючих рідин

Наведено схеми випробувального обладнання для дослідження процесів флегматизації сумішей горючих газів і парів горючих рідин з окисниками, а також результати визначення мінімальних флегматизуючих концентрацій азоту для сумішей парів ряду органічних розчинників з повітрям.